## FloTEC webinar - Q&A Report
FloTEC webinar, 23 September 2021 - Q&A
# | Question | Answer
1 | I'd be interested to hear about any software used to monitor the system and control, say, rotor pitch response, power conversion | The power conversion system applies loading torque to the generators based on the tidal flow and pitch angle. The blade pitch is adjusted to maximise power generation at low tidal flows and limit power at high flow rates.
2 | Seeing as previous funding has been received from the EU, what funding options are there or will there be for the expansion of this project in light of Brexit? | The UK continues to participate in EU led research and innovation programmes such as Horizon2020 and HorizonEurope. It will also be important for commercialisation the sector that an appropriate revenue support framework is put in place at a national government level for first commercial array projects
3 | Have you performed any fatigue tests on the blades? Which is the life expectancy for the blades? | There was static and fatigue testing carried out at National University of Ireland Galway. The life expectancy is 25 years.
4 | What type of stress tests were conducted on 02 in sea to assure operability under gale force ? | Mechanical fatigue tests were performed on a test blade. The loads used are representative of real conditions.
5 | Hi Will, interested to understand how much the rotor diameter could be increased, assuming increased loading was no problem? Cheers | Answered during event
6 | What is the tide movement required. Can it work in the indian ocean near Mauritius? | Cut in speed is roughly 0.3 m/s but rated speed (2 MW power) is roughly 2.5m/s, se we need that to generated the rated power.
7 | How much space does the 02 require when fully deployed ? How close can you place additional O2 devinces ? Will more than one 02 device share anchors / seafloor moorings? | Roughly 130m x 130m per device. The O2 Packing density is very site dependant and is an important part of the resource assessment. Sharing of anchors will feature into that but at certains site it may produce a lower packing density if the anchors are shared. It really needs a multifaceted analysis of all the costs for each configuration possible on a particular site.
8 | What was the single most difficult engineering problem in developing the technology? And were there any isues you faced you hadn’t anticipated? | Large blade bending moments acts constantly on the whole drive train. To select suitable blade & rotor bearings with a robust surrounding designs (hub, shaft, housing, nacelle) was one of the key challenges for SKF.
9 | Could one of these be moored between each pair of wind turbines in all wind farms to insert a reliable base load into the farms? Just a thought as the distribution infrastructure will already exist. | Theoretically, yes. The trouble is that you won't find offshore wind turbines on good tidal sites. The Power Conversion equipment could do this without issue, but note Williams comment!
10 | I’m interested to know what strength the tide needs to be to start turning the turbines? Not that many UK sea areas have tides as strong as Pentland Firth. Just interested in scale up potential and generation time in a 24 hr period. Great presentation, thanks. | There are 3 large areas of tidal resouce in the UK. Pentland Firth/Orkney/Shetland, Wales, Isle of Wight with further area still to be reviewed. The goal is to make a strong buisness case on a site by site basis via a low cost of energy per project. There is commercially tidal resource in Wales, France, Canada, Japan, USA, Chile, Indonesia, Phillipines, and a number of other countries so great scale up potential. One of the ongoing innovations we'll continue to progress is larger blades and drivetrains to improve project economics for sites with lower speeds that the Pentland Firth.
11 | Will there be any major changes from lessons learnt on this iteration and when do you expect to be producing the next unit ? | We will be progressing a further range of cost reduction innovations and plan to release another unit in 2023/2024. There won't be major changes to the structural configuration. Significant upgrades are planned to the the anchors and we will be progressing scaling of the blades, powertrains, improvements in the control system. In total, these will all add up to considerable ongoing cost reduction
12 | Dear Mr. Hofmann, Since the pressure of water is over 700 times more intensive than air, what kind of steel did you use? Long or short steel? In order to protect the structure against corrusion what kind of coating did you use? Thank you! | Basically we used ship building steel for the nacelle. With coating we followed proven offshore paint concepts.
13 | I have several questions: 1- What are the limitations or recommendations concerning the deployment site, in terms of the maxiumum water depth and maximum distance from the shore where the device can be feasibly deployed and operated? 2- What is the capacity factor for O2? What is the predicted percentage of the time that the device will stay online throughout its life time? How often and how long the turbines should ne maintained? 3- How is the device's impact on the hydrodynamic conditions of the deployment site? What is the momentum dissipation rate behind the blades and what is the length of the wake zone? | top1: The dynamic seal of the blade & rotor bearings are selected on a specified nominal & maximum water depth when the leg arm is down and turbine in power operation.
14 | Are the blades pitched using a mechanical system, or is it done by a hydraulic/electric motors? | Its not a hydraulic pitch actuation. Electric motors
15 | Good morning all, Pepijn Zoet from PZdyanmics here. Impressive work here on the O2 by all parties involved and many thanks for sharing! It is clear that SKF has covered the condition monitoring for the bearings. I was wondering if there is a system in place for monitoring of the structural condition (remaining life time/fatigue)? This system can also feed back into the design process for newer generations O2. | Yes, most of the primary load paths have load monitoring. We use this data to re-evaluate fatigue loads and to make lifetime predictions based on the actual site data.
16 | What capacity factor do you expect to achieve in this deployment of the O2 turbine at EMEC? | around 38% at the deployment location (100% availability)
17 | Could a unit such as the O2 operate in island mode, say dedciated to a remote location installation, without a grid frequency reference available? | Yes it can do. However you would need to check that the local load is suitably balanced.
18 | Can O2 be applied for water density-induced currents instead of the tidal currents? | I don't think that density driven currents will have the required flow speed. yes, oceanic currents tend to be situated in much deeper water and much further offshore, impacting project economics
19 | Dear Mr. Poyner, if you want to scale up: let's assume up to 1 GW, would you suggest an offshore or nearshore substation to the tidal farm? If far offshore, how far could the cabling go? | It depends heavily on the array location, distance to the shore, voltage at shore connection etc. At that power level, it would make sense to have a centralised 'collector station' and then step up the voltage for distribution to the shore. The voltage level dictates the transmission distance and as an example, ABB have previously delivered a HVDC interconnect between the UK and Ireland. We would probably use lessons learned from the wind industry architecure. I hope that makes sense!
20 | Morecambe Bay / Walney Island/Channel has some vicious currents but as you say the wind farms are further offshore. But infrastructure is closeby-ish. Thanks for your repsonses. | n/a
21 | Question to Caitlin, thank you for your presentation. Very important work!! The sound clip running with the video footage, was that at 100%? Did you find a considerable broadband component related to cavitation, as you find with ship propellers? | There were two noise clips presented. First, presented the noise when the device was deployed but not operational in a flow speed of 3.6 m/s. Second, presented the noise when the device was deployed and operational at a flow speed of 3.5 m/s. The device was operating at 25% rated capacity at the time when the data was collected. At the Fall of Warness, when the device is onsite (operational and non-operational), broadband noise both in frequency and temporally was observed when drifting speeds were approximately 3.5 m/s. This type of noise signal was not observed at the reference site, indicating that such noise is due to the presence of the device. Such broadband noise might originate from bubble plumes due to blade dynamics or wake effects.
22 | Hi William, many thanks for your presentation. Just a quick question, with modelling, what kind of modelling do you mean? Do you also carry out your own FE modleling work? What are your major challenges here? | The modelling work takes place using various models. Predominanty Hydrodynamics (for moorings, motions and hydrodynamic forces), Controller (powertrain and variable pitch control) and Structural (FEA including fatigue, CAD). We also do some CFD modelling and generally any tool we need to solve any particular problem.
23 | Do you have any generation problems due to wave turbulence? | From a Power Conversion point of view, the system inertia smooths out the majority of turbulence and the Power converters can also manage a certain amount of variation.
24 | Great event - well done the project team, thanks | n/a
Note on C4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 [Tasks] There is a task anchored to this comment that cannot be viewed in your client. Comment: @James Murray